## consumption.1
Site Name | Department | Year | Current Solar | Electric Utility | Electricity Usage | Peak Electric Demand | Building Area | Natural Gas Usage | Energy Use Intensity | Address | Latitude | Longitude
PHX Building 139 | Aviation | 2020 | 0 | APS | 1 | 0 | 3616 | 0 | 0 | 2745 E Air Ln | 33.443 | -112.0218
Old Verde Park Cntr | Parks | 2020 | 0 | APS | 12 | 0 | 0 | 0 | 0 | 916 E Van Buren St | 33.452 | -112.0618
North Ranger Station - Old | Parks | 2020 | 0 | APS | 77 | 0 | 0 | 0 | 0 | 11659 N 16th St | 33.5949 | -112.0477
Lookout Mountain Trailhead | Parks | 2020 | 0 | APS | 242 | 0 | 0 | 0 | 0 | 15415 N 16th St | 33.6272 | -112.0482
Laveen Basin | Parks | 2020 | 0 | SRP | 317 | 0 | 0 | 0 | 0 | 6039 S 43rd Ave | 33.391 | -112.1492
Tawa Mini Park | Parks | 2020 | 0 | SRP | 489 | 0 | 0 | 0 | 0 | 4540 N 11th Ave | 33.5039 | -112.0872
Ho-E Mini Park | Parks | 2020 | 0 | SRP | 552 | 0 | 0 | 0 | 0 | 128 W Illini St | 33.4118 | -112.0769
PHX Hangar 1 | Aviation | 2020 | 0 | APS | 671 | 0 | 0 | 0 | 0 | 2435 E Air Ln | 33.4437 | -112.0293
Kierland Park | Parks | 2020 | 0 | APS | 749 | 0 | 0 | 0 | 0 | 15800 N 66th St | 33.6316 | -111.9402
Mong Park | Parks | 2020 | 0 | SRP | 888 | 0 | 0 | 0 | 0 | 1432 E Wood St | 33.4088 | -112.0499
Sunset Basin | Parks | 2020 | 0 | SRP | 896 | 1 | 0 | 0 | 0 | 3830 N 63rd Ave | 33.4936 | -112.1967
Crossed Arrows Park | Parks | 2020 | 0 | APS | 974 | 0 | 0 | 0 | 0 | 6102 E Acoma Rd | 33.6204 | -111.9493
Watkins Center | Human Services | 2020 | 0 | APS | 990 | 0 | 28000 | 0 | 0 | 1120 W Watkins Rd | 33.4262 | -112.0877
PHX Hangar 18 | Aviation | 2020 | 0 | APS | 1141 | 0 | 3772 | 0 | 0 | 2411 E Air Ln | 33.443 | -112.0293
PHX Commercial Wash Rack | Aviation | 2020 | 0 | APS | 1364 | 0 | 0 | 0 | 0 | 2417 E Air Ln | 33.4437 | -112.0294
PHX Hangar 20 | Aviation | 2020 | 0 | APS | 1374 | 0 | 3772 | 0 | 0 | 2411 E Air Ln | 33.443 | -112.0297
PHX Hangar 19 | Aviation | 2020 | 0 | APS | 1471 | 0 | 3772 | 0 | 0 | 2411 E Air Ln | 33.443 | -112.0295
Roosevelt Mini Park | Parks | 2020 | 0 | APS | 1579 | 0 | 0 | 0 | 0 | 837 N 3rd Ave | 33.4581 | -112.0774
PHX Building 121 | Aviation | 2020 | 0 | APS | 1608 | 0 | 3600 | 0 | 0 | 2535 E Air Ln | 33.443 | -112.0286
Construction Site - NSD | Neighborhood | 2020 | 0 | APS | 1640 | 0 | 0 | 0 | 0 | 415 E Puget Ave | 33.5667 | -112.0682
Yapa Park | Parks | 2020 | 0 | SRP | 2169 | 2 | 0 | 0 | 0 | 2732 E Mobile Ln | 33.4017 | -112.0227
DVT Covered Wash Area | Aviation | 2020 | 0 | APS | 2465 | 0 | 0 | 0 | 0 | 1200 W Deer Valley Dr | 33.6842 | -112.0883
Virginia Park | Parks | 2020 | 0 | APS | 2734 | 0 | 0 | 0 | 0 | 2605 N 15th St | 33.4768 | -112.0494
PHX Hangar 23 | Aviation | 2020 | 0 | APS | 3036 | 0 | 3772 | 0 | 0 | 417 S 24th St | 33.4435 | -112.0297
Taos House | Parks | 2020 | 0 | APS | 3135 | 0 | 441 | 0 | 22.33 | 4619 E Washington St | 33.4465 | -111.9859
Ladmo Park | Parks | 2020 | 0 | SRP | 3264 | 2 | 0 | 0 | 0 | 3101 N 41st Dr | 33.4841 | -112.1481
Generator-326 S 1 AVE | Streets | 2020 | 0 | APS | 3367 | 0 | 0 | 17 | 0 | 326 S 1st Ave | 33.4445 | -112.0751
Old AZGFD Office | Parks | 2020 | 0 | APS | 3585 | 0 | 8400 | 0 | 1.34 | 2245 W Greenway Rd | 33.6249 | -112.1065
Cancer Survivors Park | Parks | 2020 | 0 | APS | 3968 | 0 | 0 | 0 | 0 | 1428 N 1st St | 33.4646 | -112.0726
Townsend Park | Parks | 2020 | 0 | APS | 3975 | 0 | 0 | 0 | 0 | 520 E Lynwood St | 33.4653 | -112.0669
Housing Admin Parking | Housing | 2020 | 0 | APS | 4342 | 0 | 0 | 0 | 0 | 906 E Jefferson St | 33.4475 | -112.0618
Ninos Park | Parks | 2020 | 0 | APS | 4360 | 0 | 0 | 0 | 0 | 1305 W Sherman St | 33.4396 | -112.0895
Shaw Butte Trailhead | Parks | 2020 | 0 | APS | 4389 | 0 | 0 | 0 | 0 | 12898 N Central Ave | 33.6036 | -112.0742
Norton Park | Parks | 2020 | 0 | APS | 4622 | 0 | 0 | 0 | 0 | 1224 E Hatcher Rd | 33.5716 | -112.0555
Cashman Park | Parks | 2020 | 0 | APS | 4717 | 9 | 0 | 0 | 0 | 22222 N 44th Pl | 33.6893 | -111.9807
PHX Hangar 22 | Aviation | 2020 | 0 | APS | 4763 | 0 | 3772 | 0 | 3.97 | 2411 E Air Ln | 33.4434 | -112.0297
Encanto Boathouse | Parks | 2020 | 0 | APS | 5164 | 0 | 3000 | 0 | 5.41 | 2605 N 15th Ave | 33.4763 | -112.0893
Adams St Parking Lot | Police | 2020 | 0 | APS | 5451 | 0 | 0 | 0 | 0 | 717 W Washington St | 33.4488 | -112.0832
Mercury Mine Basin Park | Parks | 2020 | 0 | APS | 5502 | 0 | 0 | 0 | 0 | 3325 E Mountain View Rd | 33.5749 | -112.0094
Country Gables Park | Parks | 2020 | 0 | APS | 5604 | 0 | 0 | 0 | 0 | 3120 W Banff Ln | 33.6209 | -112.1277
PHX Building 131 - G | Aviation | 2020 | 0 | APS | 5638 | 0 | 3800 | 0 | 4.66 | 2625 E Air Ln | 33.4437 | -112.0247
40th St Trailhead | Parks | 2020 | 0 | APS | 5664 | 0 | 0 | 0 | 0 | 9200 N 40th St | 33.5679 | -111.9964
Bishop Alexis A. Thomas Park | Parks | 2020 | 0 | SRP | 5670 | 2 | 0 | 0 | 0 | 1925 E Carver Dr | 33.4036 | -112.0399
Sonrisa Park | Parks | 2020 | 0 | APS | 5682 | 0 | 0 | 0 | 0 | 12850 N 52nd St | 33.6034 | -111.9708
Indian Bend Wash Park | Parks | 2020 | 0 | APS | 5723 | 0 | 0 | 0 | 0 | 3432 E Presidio Rd | 33.6074 | -112.0073
Encanto Snack | Parks | 2020 | 0 | APS | 5885 | 0 | 0 | 0 | 0 | 2605 N 15th Ave | 33.4759 | -112.0897
Christy Cove Park | Parks | 2020 | 0 | APS | 5936 | 0 | 0 | 0 | 0 | 2352 E Christy Dr | 33.5855 | -112.0315
Dreamy Draw Recreation Area | Parks | 2020 | 0 | APS | 6210 | 0 | 0 | 0 | 0 | 2421 E Northern Ave | 33.5644 | -112.0291
Norton Small Building | Parks | 2020 | 0 | APS | 6301 | 0 | 700 | 0 | 28.27 | 2700 N 15th Ave | 33.477 | -112.0923
Adobe Mountain Park | Parks | 2020 | 0 | APS | 6644 | 0 | 0 | 0 | 0 | 3410 W Crest Dr | 33.6889 | -112.1315
27th Ave & Baseline Park & Ride | Public Transit | 2020 | 8 | SRP | 6956 | 38 | 0 | 0 | 0 | 2832 W Baseline Rd | 33.3771 | -112.1182
Echo Canyon Trailhead | Parks | 2020 | 0 | APS | 7036 | 0 | 0 | 0 | 0 | 4925 E McDowell Rd | 33.5148 | -111.9617
24th St Fuel Island | Police | 2020 | 0 | SRP | 7205 | 3 | 0 | 0 | 0 | 6206 N 24th St | 33.5277 | -112.0297
Indian Bend Park | Parks | 2020 | 0 | APS | 7256 | 0 | 0 | 0 | 0 | 13644 N 37th Pl | 33.6119 | -112.002
Kachina Park | Parks | 2020 | 0 | SRP | 7539 | 6 | 0 | 0 | 0 | 4304 E Campbell Ave | 33.5029 | -111.9902
Hilaria Rodriguez Park | Parks | 2020 | 0 | APS | 7843 | 0 | 0 | 0 | 0 | 2801 E Adams St | 33.449 | -112.0211
PHX Hangar 7 | Aviation | 2020 | 0 | APS | 8171 | 0 | 3256 | 0 | 7.88 | 2447 E Air Ln | 33.4437 | -112.028
Harmon Pool | Parks | 2020 | 0 | APS | 8361 | 0 | 7422 | 605 | 11.69 | 1425 S 5th Ave | 33.4346 | -112.0798
Falcon Pool | Parks | 2020 | 0 | APS | 8369 | 18 | 0 | 0 | 0 | 3420 W Roosevelt St | 33.4598 | -112.1332
Sumida Park | Parks | 2020 | 0 | APS | 8452 | 0 | 0 | 0 | 0 | 1809 E Gardenia Ave | 33.5439 | -112.0429
Trail 44 Ranger Station | Parks | 2020 | 0 | APS | 8625 | 0 | 2000 | 0 | 13.55 | 10600 N 7th St | 33.5816 | -112.0661
PHX Building 132 | Aviation | 2020 | 0 | APS | 8722 | 0 | 3850 | 0 | 7.12 | 2627 E Air Ln | 33.4435 | -112.0247
Lewis Park | Parks | 2020 | 0 | APS | 9034 | 0 | 0 | 0 | 0 | 1238 S 13th Pl | 33.4357 | -112.0535
Washington Pool | Parks | 2020 | 0 | SRP | 9185 | 29 | 15915 | 0 | 1.81 | 6655 N 23rd Ave | 33.5344 | -112.1074
John W Teets Park | Parks | 2020 | 0 | APS | 9193 | 0 | 0 | 0 | 0 | 4380 E Ramuda Dr | 33.7214 | -111.9879
Perry Park | Parks | 2020 | 0 | SRP | 9861 | 280 | 0 | 0 | 0 | 2626 N 32nd St | 33.4775 | -112.0137
Cholla Cove Park | Parks | 2020 | 0 | APS | 10408 | 0 | 0 | 0 | 0 | 4121 E Lupine Ave | 33.5905 | -111.9908
PHX Building 135 | Aviation | 2020 | 0 | APS | 10417 | 1 | 4297 | 0 | 7.61 | 2633 E Air Ln | 33.443 | -112.0242
Colter Park | Parks | 2020 | 0 | APS | 10507 | 7 | 0 | 0 | 0 | 902 W Colter St | 33.5135 | -112.0847
Sandpiper Park | Parks | 2020 | 0 | APS | 10885 | 0 | 0 | 0 | 0 | 6530 E Hearn Rd | 33.6159 | -111.9398
Sahuaro West | Housing | 2020 | 0 | APS | 10979 | 0 | 0 | 0 | 0 | 1650 W Sahuaro Dr | 33.5841 | -112.0946
North Mountain Ramadas | Parks | 2020 | 0 | APS | 11180 | 0 | 0 | 0 | 0 | 10600 N 7th St | 33.5831 | -112.0663
Altadena Park | Parks | 2020 | 0 | APS | 11796 | 0 | 0 | 0 | 0 | 3711 E Altadena Ave | 33.5922 | -112.0012
Conocido Park | Parks | 2020 | 0 | APS | 12332 | 0 | 0 | 0 | 0 | 15645 N 31st Dr | 33.6311 | -112.126
Madison Pool | Parks | 2020 | 0 | APS | 12544 | 8 | 15522 | 0 | 2.54 | 1440 E Glenrosa Ave | 33.4994 | -112.0488
Westown Park | Parks | 2020 | 0 | APS | 12921 | 64 | 0 | 0 | 0 | 12635 N 33rd Ave | 33.6013 | -112.1295
Reflections at Portland | Housing | 2020 | 0 | APS | 12980 | 0 | 0 | 0 | 0 | 201 E Portland St | 33.4597 | -112.0709
Pinnacle Dog Park | Parks | 2020 | 0 | APS | 13704 | 14 | 0 | 0 | 0 | 20900 N Black Mountain Blvd | 33.6761 | -112.0067
Paradise Cove Park | Parks | 2020 | 0 | APS | 13850 | 0 | 0 | 0 | 0 | 3930 E Monte Cristo Ave | 33.6324 | -111.9981
Werner's Field Park | Parks | 2020 | 0 | APS | 14035 | 0 | 0 | 0 | 0 | 17831 N 7th Ave | 33.6481 | -112.0813
Sunburst Paradise Park | Parks | 2020 | 0 | APS | 14224 | 0 | 0 | 0 | 0 | 16225 N 47th Ave | 33.6337 | -112.1588
PHX Building 128 | Aviation | 2020 | 0 | APS | 14232 | 0 | 29643 | 0 | 1.51 | 2535 E Air Ln | 33.443 | -112.0271
DVT Police Hangar | Aviation | 2020 | 0 | APS | 14349 | 0 | 0 | 0 | 0 | 720 W Deer Valley Dr | 33.6865 | -112.0733
Orme Park | Parks | 2020 | 0 | SRP | 14939 | 16 | 0 | 0 | 0 | 3201 N 47th Pl | 33.4861 | -112.1608
Paradise Village | Housing | 2020 | 41 | APS | 15040 | 0 | 0 | 0 | 0 | 2520 E Aire Libre Ave | 33.6373 | -112.0279
GY Building 56 | Aviation | 2020 | 0 | APS | 15067 | 0 | 0 | 0 | 0 | 1658 S Litchfield Rd | N/A | N/A
North Ranger Station Shop | Parks | 2020 | 0 | APS | 15274 | 0 | 11200 | 0 | 4.28 | 2245 W Greenway Rd | 33.624 | -112.1066
Quail Run Basin Park | Parks | 2020 | 0 | APS | 16289 | 0 | 0 | 0 | 0 | 18434 N 12th St | 33.6543 | -112.0575
Acoma Park | Parks | 2020 | 0 | APS | 16754 | 0 | 0 | 0 | 0 | 14421 N 39th Ave | 33.6167 | -112.1424
Piestewa Peak | Parks | 2020 | 0 | APS | 16856 | 2 | 0 | 0 | 0 | 2701 E Squaw Peak Dr | 33.5427 | -112.0155
Desert Star Park | Parks | 2020 | 0 | SRP | 17040 | 19 | 0 | 0 | 0 | 8550 W Encanto Blvd | 33.4729 | -112.2446
PHX Building 143 | Aviation | 2020 | 0 | APS | 17074 | 0 | 0 | 0 | 0 | 3701 E Air Ln | 33.4425 | -112.0015
Dove Valley Park | Parks | 2020 | 0 | APS | 17678 | 0 | 0 | 0 | 0 | 4740 E Rancho Paloma Dr | 33.7862 | -111.979
Hoshoni Park | Parks | 2020 | 0 | SRP | 18068 | 23 | 0 | 0 | 0 | 8515 N 39th Ave | 33.5608 | -112.1447
The Bungalow | Parks | 2020 | 0 | APS | 18166 | 0 | 0 | 0 | 0 | 622 E Adams St | 33.4495 | -112.066
Historic Fire Station 8 | Fire | 2020 | 0 | APS | 18214 | 0 | 2250 | 56 | 27.92 | 541 W Encanto Blvd | 33.4727 | -112.0825
Nueve Park | Parks | 2020 | 0 | SRP | 19229 | 101 | 0 | 0 | 0 | 4445 S 9th St | 33.4052 | -112.0594
Ma-Ha Tuak Park | Parks | 2020 | 0 | SRP | 19883 | 28 | 0 | 0 | 0 | 9832 S 7th Ave | 33.3572 | -112.0842
Bloomfield Warehouse | Parks | 2020 | 0 | APS | 19977 | 0 | 2654 | 651 | 48.17 | 3201 E Bloomfield Rd | 33.5995 | -112.0128
La Cascada I | Housing | 2020 | 0 | APS | 20508 | 0 | 55798 | 0 | 1.15 | 248 E Ruth Ave | 33.5634 | -112.0698
Sherman Parkway | Parks | 2020 | 0 | APS | 21008 | 0 | 0 | 0 | 0 | 2124 W Sherman St | 33.4404 | -112.1037
Jackrabbit Basin | Parks | 2020 | 0 | APS | 21076 | 0 | 0 | 0 | 0 | 6002 E Paradise Ln | 33.6337 | -111.9497
Washington Warehouse | Aviation | 2020 | 0 | APS | 21251 | 0 | 0 | 0 | 0 | 2949 E Washington St | 33.4477 | -112.0176
Encanto Park Restrooms | Parks | 2020 | 0 | APS | 21561 | 0 | 800 | 0 | 84.66 | 2605 N 15th Ave | 33.4715 | -112.0899
Desert Willow Park | Parks | 2020 | 0 | APS | 21625 | 0 | 0 | 0 | 0 | 4040 E Desert Willow Pkwy W | 33.765 | -111.9938
Vista Canyon Park | Parks | 2020 | 0 | SRP | 21680 | 23 | 0 | 0 | 0 | 16020 S 30th St | 33.2993 | -112.0203
Shop - Adobe | Parks | 2020 | 0 | APS | 22601 | 0 | 2550 | 0 | 27.84 | 4619 E Washington St | 33.4474 | -111.9842
Coyote Basin Park | Parks | 2020 | 0 | APS | 23022 | 0 | 0 | 0 | 0 | 2730 E Beardsley Rd | 33.671 | -112.0252
Sunridge Park | Parks | 2020 | 0 | SRP | 23035 | 17 | 0 | 0 | 0 | 6201 W Roosevelt St | 33.4577 | -112.1942
Burn Building | Fire | 2020 | 0 | APS | 23193 | 0 | 8000 | 0 | 9.11 | 2425 W Lower Buckeye Rd | 33.419 | -112.111
Happy Valley Park & Ride | Public Transit | 2020 | 30 | APS | 23223 | 0 | 0 | 0 | 0 | 24725 N 29th Ave | 33.7103 | -112.1205
Nuestro Park | Parks | 2020 | 0 | APS | 23908 | 0 | 0 | 0 | 0 | 1433 S 9th St | 33.4336 | -112.0617
Surrey Park | Parks | 2020 | 0 | APS | 24358 | 0 | 0 | 0 | 0 | 3835 W Joan De Arc Ave | 33.6066 | -112.1416
Palma Park | Parks | 2020 | 0 | APS | 24663 | 76 | 0 | 0 | 0 | 1135 E Dunlap Ave | 33.5668 | -112.0575
Tramonto Park | Parks | 2020 | 0 | APS | 24929 | 0 | 0 | 0 | 0 | 35425 N 32nd Dr | 33.8061 | -112.1285
Cave Creek Park - Sand Lilly | Parks | 2020 | 0 | APS | 25073 | 0 | 0 | 0 | 0 | 2500 W Cactus Rd | 33.5931 | -112.114
Sunnyslope Pool | Parks | 2020 | 0 | APS | 25597 | 28 | 4524 | 98 | 19.94 | 325 W Dunlap Ave | 33.5671 | -112.0788
Edison Park | Parks | 2020 | 0 | APS | 26043 | 0 | 0 | 0 | 0 | 901 N 19th St | 33.4582 | -112.0404
Royal Palm Park | Parks | 2020 | 0 | SRP | 26358 | 50 | 0 | 0 | 0 | 8405 N 15th Ave | 33.5589 | -112.0897
Western Star Park | Parks | 2020 | 0 | SRP | 26360 | 37 | 0 | 0 | 0 | 10419 S 48th St | 33.3537 | -111.9869
Jackson Warehouse | Aviation | 2020 | 0 | APS | 26494 | 0 | 0 | 0 | 0 | 3332 E Jackson St | 33.4455 | -112.0089
Pioneer and Military Memorial Park | Parks | 2020 | 0 | APS | 26698 | 0 | 2684 | 0 | 31.24 | 1317 W Jefferson St | 33.4466 | -112.0904
North West Division Office | Parks | 2020 | 0 | SRP | 27599 | 11 | 16652 | 210 | 6.47 | 3901 W Glendale Ave | 33.538 | -112.1432
Lookout Mountain Park | Parks | 2020 | 0 | APS | 28187 | 0 | 0 | 0 | 0 | 14441 N 18th St | 33.6178 | -112.0428
Mariposa Park | Parks | 2020 | 0 | SRP | 28249 | 44 | 0 | 0 | 0 | 3150 W Morten Ave | 33.5485 | -112.1277
Mountain View Park | Parks | 2020 | 0 | APS | 29580 | 0 | 0 | 0 | 0 | 9901 N 7th Ave | 33.5771 | -112.0815
PHX Building 137 | Aviation | 2020 | 0 | APS | 29788 | 0 | 4700 | 0 | 19.91 | 2637 E Air Ln | 33.4436 | -112.0237
PCC Tonto Marhalling Yard | Convention | 2020 | 0 | APS | 30714 | 0 | 0 | 0 | 0 | 1102 E Tonto St | 33.4382 | -112.0585
Turtle Rock Basin | Parks | 2020 | 0 | APS | 30869 | 0 | 0 | 0 | 0 | 17414 N 12th St | 33.6448 | -112.0591
GY ST Hanger | Aviation | 2020 | 0 | APS | 30904 | 0 | 0 | 0 | 0 | 1658 S Litchfield Rd | N/A | N/A
Francisco Highland park | Parks | 2020 | 0 | SRP | 31010 | 29 | 0 | 0 | 0 | 2702 E South Mountain Ave | 33.3712 | -112.024
Grover's Basin Park | Parks | 2020 | 0 | APS | 31231 | 0 | 0 | 0 | 0 | 17447 N 20th St | 33.6475 | -112.036
Trailside Point Park | Parks | 2020 | 0 | SRP | 31232 | 40 | 0 | 0 | 0 | 7215 W Vineyard Rd | 33.3852 | -112.2126
Long Homestead Park | Parks | 2020 | 0 | SRP | 31542 | 19 | 0 | 0 | 0 | 2602 W Glendale Ave | 33.5396 | -112.1146
PHX Building 122 | Aviation | 2020 | 0 | APS | 31699 | 0 | 3600 | 0 | 27.66 | 2535 E Air Ln | 33.443 | -112.0284
Arcadia Park | Parks | 2020 | 0 | SRP | 31806 | 245 | 0 | 0 | 0 | 3402 N 56th St | 33.4882 | -111.9621
Sahuaro Yard | Parks | 2020 | 0 | APS | 32167 | 0 | 7636 | 0 | 13.23 | 1602 E Sahuaro Dr | 33.585 | -112.0474
Eastlake Pool | Parks | 2020 | 0 | APS | 32663 | 0 | 9206 | 50 | 11.69 | 1549 E Jefferson St | 33.4464 | -112.0484
Nevitt Park | Parks | 2020 | 0 | SRP | 32706 | 10 | 0 | 0 | 0 | 6823 S 44th Way | 33.3861 | -111.9838
Heritage Parking Garage | Parks | 2020 | 0 | APS | 32743 | 0 | 0 | 0 | 0 | 123 N 5th St | 33.45 | -112.0665
North Ranger Station Office | Parks | 2020 | 0 | APS | 32966 | 0 | 3500 | 0 | 29.58 | 2245 W Greenway Rd | 33.625 | -112.1075
Stevens-Haustgen House | Parks | 2020 | 0 | APS | 33028 | 0 | 0 | 0 | 0 | 614 E Adams St | 33.4496 | -112.0658
Shemer Art Center & Museum | Parks | 2020 | 0 | SRP | 33500 | 34 | 5425 | 932 | 36.58 | 5005 E Camelback Rd | 33.505 | -111.9721
Tenth St Wash Park | Parks | 2020 | 0 | APS | 33557 | 0 | 0 | 0 | 0 | 1001 E Townley Ave | 33.5655 | -112.0598
Solano Park | Parks | 2020 | 0 | SRP | 33763 | 96 | 0 | 0 | 0 | 5625 N 17th Ave | 33.5189 | -112.0942
Fire Station 21 | Fire | 2020 | 0 | APS | 33943 | 24 | 4636 | 660 | 37.23 | 1212 S 27th Ave | 33.4362 | -112.1177
Desert Storm Park | Parks | 2020 | 0 | SRP | 33975 | 27 | 0 | 0 | 0 | 1700 E Colter St | 33.5137 | -112.0456
Rosson House | Parks | 2020 | 0 | APS | 34203 | 0 | 0 | 0 | 0 | 115 N 6th St | 33.4502 | -112.0659
Playa Margarita Park | Parks | 2020 | 0 | SRP | 34839 | 101 | 0 | 0 | 0 | 3615 W Roeser Rd | 33.399 | -112.1362
Alkire Pool | Parks | 2020 | 0 | APS | 34912 | 0 | 0 | 58 | 0 | 1602 W Pima St | 33.4337 | -112.095
Laveen Village Park | Parks | 2020 | 0 | SRP | 35967 | 42 | 0 | 0 | 0 | 3146 W Vineyard Rd | 33.3845 | -112.1268
Encanto District Office | Parks | 2020 | 0 | APS | 36867 | 0 | 4800 | 0 | 24.12 | 2300 N 17th Ave | 33.4734 | -112.0968
Tovrea Castle at Carraro Heights | Parks | 2020 | 0 | APS | 36966 | 0 | 5400 | 0 | 21.5 | 5025 E Van Buren St | 33.4482 | -111.9717
Kuban park | Parks | 2020 | 0 | APS | 36981 | 0 | 0 | 0 | 0 | 3275 W Sherman St | 33.4397 | -112.1294
GR Herberger Park | Parks | 2020 | 0 | SRP | 37340 | 54 | 0 | 0 | 0 | 5802 E Indian School Rd | 33.4909 | -111.9567
Winship House | Parks | 2020 | 0 | APS | 37714 | 0 | 0 | 0 | 0 | 216 W Portland St | 33.4603 | -112.0772
Encanto 9-Hole Pro Shop | Golf | 2020 | 0 | APS | 37915 | 0 | 3475 | 489 | 48.34 | 2308 N 17th Ave | 33.4739 | -112.0962
Muriel Smith Rec Center | Parks | 2020 | 0 | SRP | 37978 | 50 | 0 | 0 | 0 | 2230 W Roeser Rd | 33.399 | -112.1056
Paradise Valley Transit Center | Public Transit | 2020 | 0 | APS | 40153 | 0 | 153 | 0 | 824.31 | 4711 E Paradise Village Pkwy N | 33.6048 | -111.9791
PHX Building 136 | Aviation | 2020 | 0 | APS | 40172 | 0 | 4900 | 0 | 25.75 | 2635 E Air Ln | 33.4432 | -112.0237
Thomas House | Parks | 2020 | 0 | APS | 40201 | 0 | 0 | 0 | 0 | 609 E Adams St | 33.4492 | -112.0659
Norton House | Parks | 2020 | 0 | APS | 40264 | 0 | 0 | 0 | 0 | 2700 N 15th Ave | 33.4772 | -112.092
PHX Building 210 | Aviation | 2020 | 0 | APS | 41060 | 0 | 0 | 0 | 0 | 1248 S 25th St | 33.4356 | -112.0294
Historic Fire Station 25 | Fire | 2020 | 0 | SRP | 41139 | 16 | 4632 | 183 | 31.85 | 4032 N 59th Ave | 33.4939 | -112.1868
Palo Verde Pro Shop | Golf | 2020 | 0 | SRP | 42159 | 13 | 3036 | 0 | 43.62 | 6215 N 15th Ave | 33.5281 | -112.0907
Holiday Park | Parks | 2020 | 0 | SRP | 42373 | 64 | 0 | 29 | 0 | 4530 N 67th Ave | 33.5037 | -112.2043
Green Valley Park | Parks | 2020 | 0 | APS | 42951 | 0 | 0 | 0 | 0 | 2243 S 14th St | 33.4264 | -112.0512
Little Canyon Park | Parks | 2020 | 0 | SRP | 43058 | 276 | 0 | 0 | 0 | 3201 W Missouri Ave | 33.5158 | -112.1284
Bret Tarver Learning Center | Parks | 2020 | 0 | APS | 43500 | 22 | 0 | 0 | 0 | 1416 N 35th Ave | 33.4657 | -112.1349
Central Park | Parks | 2020 | 0 | APS | 43978 | 28 | 0 | 0 | 0 | 140 E Tonto St | 33.4387 | -112.0719
Dust Devil Park | Parks | 2020 | 7 | SRP | 44239 | 71 | 0 | 0 | 0 | 10645 W Camelback Rd | 33.5073 | -112.2888
Bouvier-Teeter House | Parks | 2020 | 0 | APS | 44400 | 30 | 0 | 0 | 0 | 622 E Adams St | 33.4496 | -112.0657
24th St/Baseline Park & Ride | Public Transit | 2020 | 24 | SRP | 45988 | 11 | 0 | 0 | 0 | 7415 S 24th St | 33.3795 | -112.0295
Papago Ramadas | Parks | 2020 | 0 | SRP | 47150 | 21 | 0 | 0 | 0 | 625 N Galvin Pkwy | 33.4548 | -111.9473
Valley Garden Center | Parks | 2020 | 0 | APS | 47491 | 46 | 0 | 604 | 0 | 1809 N 15th Ave | 33.4682 | -112.0911
Paradise Greens | Housing | 2020 | 0 | APS | 47520 | 58 | 0 | 0 | 0 | 16001 N 25th St | 33.6319 | -112.0275
Palomino Park | Parks | 2020 | 0 | APS | 48213 | 0 | 0 | 0 | 0 | 15815 N 30th St | 33.63 | -112.0167
Mountain View Tennis Center | Parks | 2020 | 0 | APS | 48521 | 19 | 5000 | 0 | 30.48 | 1118 E Grovers Ave | 33.6479 | -112.0591
Sweetwater Park | Parks | 2020 | 0 | APS | 48830 | 111 | 0 | 0 | 0 | 13230 N 44th St | 33.6057 | -111.987
79th Ave / I-10 Park & Ride | Public Transit | 2020 | 0 | SRP | 48870 | 31 | 433 | 0 | 354.5 | 7805 W McDowell Rd | 33.465 | -112.2285
Sunnyslope Transit Center | Public Transit | 2020 | 0 | APS | 49266 | 0 | 226 | 0 | 684.71 | 8927 N 3rd St | 33.5671 | -112.0693
Command Training Center | Fire | 2020 | 0 | SRP | 49810 | 20 | 4632 | 201 | 38.12 | 7717 N 27th Ave | 33.5499 | -112.1166
La Pradera Maintenance Yard | Parks | 2020 | 0 | SRP | 49902 | 31 | 5400 | 0 | 29.03 | 6830 N 39th Ave | 33.5376 | -112.1433
Fire Driver Training Bldg | Fire | 2020 | 10 | APS | 50580 | 0 | 9216 | 0 | 17.24 | 2425 W Lower Buckeye Rd | 33.4217 | -112.1104
Dynamite Park | Parks | 2020 | 0 | APS | 50637 | 34 | 0 | 0 | 0 | 4550 E Dynamite Blvd | 33.7347 | -112.1366
Sunnyslope - Youth Center | Parks | 2020 | 0 | APS | 51420 | 49 | 6433 | 0 | 25.11 | 1702 W Peoria Ave | 33.5826 | -112.0953
Sueno Park | Parks | 2020 | 0 | SRP | 51565 | 184 | 0 | 0 | 0 | 4401 W Encanto Blvd | 33.4714 | -112.1539
Encanto Park Clubhouse | Golf | 2020 | 0 | APS | 51726 | 38 | 6783 | 1180 | 41.35 | 2605 N 15th Ave | 33.4761 | -112.0879
Santa Maria Park | Parks | 2020 | 0 | SRP | 52245 | 41 | 0 | 0 | 0 | 3425 S 71st Ave | 33.4176 | -112.2114
Metrocenter Park & Ride | Public Transit | 2020 | 0 | APS | 52341 | 0 | 80 | 0 | 2055.03 | 9451 N Metro Pkwy W | 33.5729 | -112.1234
DVT Maintenance Bldg West | Aviation | 2020 | 0 | APS | 53266 | 38 | 4752 | 0 | 35.21 | 702 W Deer Valley Dr | 33.6841 | -112.0921
North Mountain Visitor Center | Parks | 2020 | 3 | APS | 53488 | 55 | 10000 | 0 | 16.8 | 12950 N 7th St | 33.5986 | -112.0668
PHX Building 127 | Aviation | 2020 | 0 | APS | 54773 | 30 | 16947 | 0 | 10.15 | 2505 E Air Ln | 33.4436 | -112.0273
DVT Hangar 8 | Aviation | 2020 | 0 | APS | 57143 | 0 | 0 | 0 | 0 | 930 W Deer Valley Dr | 33.6846 | -112.0864
Baird Machine Shop | Parks | 2020 | 0 | APS | 58179 | 18 | 0 | 0 | 0 | 623 E Adams St | 33.4492 | -112.0656
Moon Valley Park | Parks | 2020 | 0 | APS | 58323 | 31 | 0 | 0 | 0 | 502 W Coral Gables Dr | 33.6265 | -112.0814
PHX Mohave Parking Lot South | Aviation | 2020 | 0 | APS | 59572 | 0 | 0 | 81 | 0 | 2010 S 24th St | 33.4286 | -112.0317
PHX Building 123 | Aviation | 2020 | 0 | APS | 60094 | 40 | 3600 | 0 | 52.43 | 2535 E Air Ln | 33.443 | -112.0281
Aguila Golf Pro Shop | Golf | 2020 | 0 | SRP | 60180 | 18 | 6000 | 0 | 31.5 | 8440 S 35th Ave | 33.37 | -112.1398
Sereno Park | Parks | 2020 | 0 | APS | 60303 | 0 | 0 | 0 | 0 | 5720 E Sweetwater Ave | 33.6061 | -111.9579
Fire Station 34 | Fire | 2020 | 0 | SRP | 60649 | 17 | 5809 | 153 | 35.43 | 50 N 51st Ave | 33.4489 | -112.1695
27th Ave Landfill | Public Works | 2020 | 0 | APS | 62086 | 30 | 0 | 0 | 0 | 3060 S 27th Ave | 33.4203 | -112.1249
27th Ave Landfill | Public Works | 2020 | 0 | APS | 62086 | 30 | 0 | 0 | 0 | 3060 S 27th Ave | 33.4203 | -112.1249
PHX Maintenance Support | Aviation | 2020 | 0 | APS | 62810 | 25 | 0 | 0 | 0 | 3328 E Jackson St | 33.4455 | -112.009
La Pradera Park | Parks | 2020 | 0 | SRP | 64060 | 286 | 0 | 0 | 0 | 6830 N 39th Ave | 33.537 | -112.145
Fire Station 14 | Fire | 2020 | 0 | APS | 64329 | 0 | 3540 | 693 | 76.65 | 1330 N 32nd Ave | 33.464 | -112.1276
DVT Hangar 12 | Aviation | 2020 | 0 | APS | 65651 | 0 | 0 | 0 | 0 | 702 W Deer Valley Dr | 33.6847 | -112.0796
Fire Station 06 | Fire | 2020 | 0 | APS | 65883 | 0 | 4636 | 568 | 56.89 | 368 W Apache St | 33.4304 | -112.0801
Granada Park | Parks | 2020 | 0 | SRP | 67472 | 119 | 0 | 0 | 0 | 6505 N 20th St | 33.5324 | -112.0365
Fire Station 13 | Fire | 2020 | 0 | SRP | 67641 | 20 | 3340 | 488 | 78.22 | 2828 N 47th Pl | 33.4788 | -111.9786
Grant Pool | Parks | 2020 | 0 | APS | 67953 | 50 | 0 | 0 | 0 | 707 S 3rd Ave | 33.4408 | -112.0767
Police Air Support Hanger | Police | 2020 | 0 | APS | 68009 | 0 | 0 | 0 | 0 | 702 W Deer Valley Dr | 33.6864 | -112.0734
Buffalo Ridge Park | Parks | 2020 | 0 | APS | 68154 | 70 | 0 | 0 | 0 | 19250 N 16th St | 33.6598 | -112.0464
Desert Broom Park | Parks | 2020 | 0 | APS | 68725 | 112 | 0 | 0 | 0 | 29805 N Cave Creek Rd | 33.752 | -111.994
Monterey Park | Parks | 2020 | 0 | APS | 69684 | 0 | 0 | 0 | 0 | 350 E Oak St | 33.4739 | -112.0675
Sun Ray Park | Parks | 2020 | 0 | SRP | 69836 | 263 | 0 | 0 | 0 | 4059 E Ray Rd | 33.319 | -111.9981
Desert Horizon Park | Parks | 2020 | 0 | APS | 70134 | 0 | 0 | 0 | 0 | 16002 56th St | 33.6319 | -111.9625
19th Ave Landfill | Public Works | 2020 | 0 | APS/SRP | 70493 | 47 | 0 | 0 | 0 | 1851 W Lower Buckeye Rd | 33.4192 | -112.0968
19th Ave Landfill | Public Works | 2020 | 0 | APS/SRP | 70493 | 47 | 0 | 0 | 0 | 1851 W Lower Buckeye Rd | 33.4192 | -112.0968
Surplus Ops | Public Works | 2020 | 0 | APS | 71093 | 0 | 7000 | 0 | 31.9 | 2820 S 22nd Ave | 33.4219 | -112.1074
Senior Opportunities - West | Human Services | 2020 | 0 | APS | 71400 | 35 | 8000 | 1167 | 42.62 | 1224 S 7th Ave | 33.4359 | -112.0827
GY TH2 | Aviation | 2020 | 0 | APS | 71832 | 21 | 0 | 0 | 0 | 1658 S Litchfield Rd | N/A | N/A
South Phoenix Youth Center | Parks | 2020 | 0 | SRP | 71950 | 32 | 6976 | 537 | 40.09 | 5245 S 7th St | 33.3979 | -112.0643
Venturoso Park | Parks | 2020 | 0 | APS | 72781 | 0 | 0 | 0 | 0 | 14425 N 32nd St | 33.6171 | -112.0115
Encanto Pool | Parks | 2020 | 0 | APS | 73729 | 34 | 14724 | 0 | 15.73 | 2125 N 15th Ave | 33.4724 | -112.0898
Manzanita Park | Parks | 2020 | 0 | SRP | 73754 | 342 | 0 | 0 | 0 | 5500 S 31st Ave | 33.3978 | -112.1272
Mtn View Community Center | Parks | 2020 | 0 | APS | 74357 | 60 | 13028 | 0 | 17.93 | 1104 E Grovers Ave | 33.648 | -112.0598
Vernell Coleman Rec Center | Parks | 2020 | 0 | APS | 74498 | 31 | 7324 | 0 | 31.95 | 830 W Tonto St | 33.4389 | -112.084
SR-51 / Bell Road Park & Ride | Public Transit | 2020 | 0 | APS | 74795 | 0 | 0 | 0 | 0 | 3535 E Bell Rd | 33.6398 | -112.0054
Building 3 - Archaeological Repository | Parks | 2020 | 0 | APS | 75974 | 22 | 3450 | 0 | 69.17 | 4619 E Washington St | 33.4468 | -111.9858
Desert Foothills Park | Parks | 2020 | 0 | SRP | 76237 | 377 | 0 | 0 | 0 | 1010 E Marketplace SE | 33.3057 | -112.0597
305 Parking Garage | Public Works | 2020 | 444 | APS | 76264 | 238 | 32526 | 0 | 7.36 | 305 Washington St | 33.4477 | -112.0784
Foothills Court | Housing | 2020 | 0 | APS | 76297 | 0 | 41613 | 0 | 5.76 | 1606 W Peoria Ave | 33.5825 | -112.0938
Emergency Vehicle Operations Center | Police | 2020 | 0 | SRP | 76301 | 32 | 2600 | 0 | 92.18 | 8645 W Broadway Rd | 33.4025 | -112.2446
Desert Sky Transit Center | Public Transit | 2020 | 21 | SRP | 76822 | 52 | 0 | 0 | 0 | 7887 W Thomas Rd | 33.4791 | -112.2288
La Cascada II | Housing | 2020 | 0 | APS | 76960 | 31 | 55798 | 0 | 4.33 | 229 E Ruth Ave | 33.5627 | -112.0703
Cactus Park Irrigation Well | Parks | 2020 | 0 | APS | 76964 | 162 | 0 | 0 | 0 | 3101 W Cactus Rd | 33.5962 | -112.1255
Fire Station 72 | Fire | 2020 | 14 | APS | 77100 | 30 | 11000 | 2925 | 48.61 | 33027 N Cave Creek Rd | 33.785 | -111.9715
Windrose Villas | Housing | 2020 | 0 | APS | 77328 | 84 | 863850 | 0 | 0.28 | 1520 W Peoria Ave | 33.5826 | -112.0919
SR-51 / Shea Park & Ride | Public Transit | 2020 | 0 | APS | 77358 | 0 | 0 | 0 | 0 | 10203 N 32nd St | 33.5806 | -112.0111
Fire Station 07 | Fire | 2020 | 0 | APS | 78261 | 21 | 4636 | 681 | 67.71 | 403 E Hatcher Rd | 33.5712 | -112.0681
Fire Station 17 | Fire | 2020 | 0 | APS | 79657 | 24 | 4636 | 500 | 64.75 | 1531 E Missouri Ave | 33.5162 | -112.0483
Central Station Transit Center | Public Transit | 2020 | 24 | APS | 80489 | 23 | 4000 | 0 | 63.2 | 300 N Central Ave | 33.4521 | -112.0743
Smith Park | Parks | 2020 | 0 | APS | 81236 | 76 | 0 | 0 | 0 | 4030 W Sherman St | 33.4415 | -112.1464
Kid St Park - Atkinson Rec Cen | Parks | 2020 | 0 | SRP | 82364 | 69 | 3715 | 0 | 69.64 | 4535 N 23rd Ave | 33.5036 | -112.1079
Thunderbird Teen Center | Parks | 2020 | 0 | APS | 82413 | 46 | 7500 | 0 | 34.51 | 1106 E Grovers Ave | 33.6487 | -112.0597
Fire Station 39 | Fire | 2020 | 0 | SRP | 84151 | 21 | 4200 | 533 | 75.62 | 2276 W Southern Ave | 33.3926 | -112.1076
Fire Station 22 - Admin | Fire | 2020 | 0 | SRP | 87439 | 31 | 7084 | 0 | 38.77 | 220 E Roeser Rd | 33.4001 | -112.0704
Fire Station 28 | Fire | 2020 | 0 | SRP | 88797 | 24 | 5908 | 706 | 59.16 | 7409 S 16th St | 33.3793 | -112.0468
Fire Station 27 | Fire | 2020 | 0 | APS | 89315 | 25 | 5908 | 813 | 61.25 | 12449 N 32nd St | 33.6004 | -112.0128
Fire Station 45 | Fire | 2020 | 0 | APS | 89409 | 24 | 4200 | 771 | 85.22 | 20030 N 26th St | 33.6686 | -112.0267
So Mt Env Education Center | Parks | 2020 | 0 | SRP | 90640 | 56 | 10000 | 0 | 28.47 | 10409 S Central Ave | 33.3508 | -112.0761
Senior Services Meal Prep Facility | Human Services | 2020 | 0 | APS | 91440 | 39 | 10732 | 516 | 31.57 | 701 W Buchanan St | 33.4427 | -112.0827
DVT Aircraft Maintenance Bays | Aviation | 2020 | 0 | APS | 92627 | 21 | 6888 | 0 | 42.24 | 702 W Deer Valley Dr | 33.6849 | -112.0921
Fire Station 42 | Fire | 2020 | 0 | APS | 93135 | 32 | 4597 | 0 | 63.64 | 3246 W Greenway Rd | 33.6256 | -112.1292
Verde Park Recreation Center | Parks | 2020 | 0 | APS | 93848 | 55 | 0 | 0 | 0 | 916 E Van Buren St | 33.4519 | -112.0614
Visual Arts Building | Parks | 2020 | 0 | APS | 94058 | 61 | 11560 | 0 | 25.56 | 220 E Moreland St | 33.4616 | -112.0704
Fire Station 48 | Fire | 2020 | 0 | APS | 95434 | 29 | 7300 | 0 | 41.06 | 5230 W Happy Valley Rd | 33.711 | -112.2118
Foothills on the Preserve | Housing | 2020 | 0 | APS | 95860 | 23 | 0 | 0 | 0 | 1525 E Cheryl Dr | 33.5775 | -112.0494
DVT Hangar 18 | Aviation | 2020 | 0 | APS | 97255 | 24 | 15028 | 0 | 20.33 | 700 W Deer Valley Dr | 33.6848 | -112.0762
Mountain View Pool | Parks | 2020 | 0 | APS | 97519 | 398 | 8170 | 0 | 37.49 | 1104 E Grovers Ave | 33.6482 | -112.0598
Fire Station 58 | Fire | 2020 | 0 | SRP | 97693 | 37 | 7200 | 937 | 55.63 | 4718 W Dobbins Rd | 33.3634 | -112.1612
Adam Diaz Senior Center | Human Services | 2020 | 0 | SRP | 98240 | 54 | 10300 | 0 | 29.96 | 4115 W Thomas Rd | 33.48 | -112.148
Fire Station 15 | Fire | 2020 | 0 | SRP | 98458 | 28 | 4597 | 0 | 67.27 | 4730 N 43rd Ave | 33.5063 | -112.152
Fire Station 46 | Fire | 2020 | 0 | SRP | 98585 | 47 | 4200 | 0 | 73.73 | 15402 E Marketplace Way | 33.3068 | -112.0522
Rio Salado Parking | Parks | 2020 | 0 | APS | 98739 | 50 | 0 | 0 | 0 | 2801 S 7th Ave | 33.4207 | -112.0809
El Prado Pool | Parks | 2020 | 0 | SRP | 98798 | 60 | 12142 | 0 | 25.56 | 6428 S 19th Ave | 33.387 | -112.1017
Fire Station 23 | Fire | 2020 | 0 | SRP | 99520 | 28 | 7091 | 755 | 54.73 | 4416 S 32nd St | 33.4059 | -112.0132
Fire Station 31 | Fire | 2020 | 0 | APS | 99837 | 28 | 4597 | 0 | 68.22 | 5730 E Thunderbird Rd | 33.6119 | -111.9575
Desert Meadows | Housing | 2020 | 0 | APS | 100709 | 37 | 0 | 0 | 0 | 16819 N 42nd Ave | 33.6373 | -112.1479
2705 Building | Parks | 2020 | 0 | APS | 101383 | 44 | 2160 | 0 | 147.43 | 2705 N 15th Ave | 33.477 | -112.0902
PHX 42nd St Employee Lot | Aviation | 2020 | 0 | APS | 101454 | 49 | 0 | 0 | 0 | 4000 E Sky Harbor Blvd | 33.438 | -111.9866
Coronado Pool | Parks | 2020 | 0 | APS | 103490 | 0 | 0 | 0 | 0 | 1717 N 12th St | 33.4676 | -112.0559
DVT Hangar 22 | Aviation | 2020 | 0 | APS | 107726 | 28 | 15028 | 0 | 22.52 | 702 W Deer Valley Dr | 33.6849 | -112.076
Salt River SC Storage | Public Works | 2020 | 0 | APS | 108182 | 41 | 2300 | 0 | 147.74 | 3045 S 22nd Ave | 33.4194 | -112.1041
Hayden Park | Parks | 2020 | 0 | SRP | 108374 | 272 | 0 | 0 | 0 | 322 W Tamarisk St | 33.4049 | -112.0789
Fire Station 40 | Fire | 2020 | 0 | SRP | 109184 | 27 | 7091 | 1191 | 65.16 | 3838 N 83rd Ave | 33.4914 | -112.2382
Cave Creek Park - Cholla | Parks | 2020 | 0 | APS | 109493 | 145 | 0 | 0 | 0 | 2505 W Cholla St | 33.5893 | -112.1132
Fire Station 49 | Fire | 2020 | 0 | APS | 109697 | 44 | 7200 | 0 | 47.86 | 3750 E Dynamite Blvd | 33.7415 | -111.9961
DVT Hangar 27 | Aviation | 2020 | 0 | APS | 109719 | 24 | 14892 | 0 | 23.14 | 702 W Deer Valley Dr | 33.6931 | -112.0808
I-17 / Bell Park & Ride | Public Transit | 2020 | 0 | APS | 110112 | 21 | 293 | 0 | 1180.41 | 16808 N Black Canyon Hwy | 33.6389 | -112.1179
Fire Station 05 | Fire | 2020 | 0 | APS | 110200 | 27 | 6466 | 893 | 67.34 | 1840 E Cambridge Ave | 33.4778 | -112.0417
Fire Station 20 | Fire | 2020 | 0 | APS | 112428 | 34 | 3425 | 327 | 112.65 | 726 W Glendale Ave | 33.5388 | -112.0834
Esteban Park | Parks | 2020 | 0 | SRP | 113229 | 631 | 0 | 0 | 0 | 3345 E Roeser Rd | 33.3981 | -112.01
Deck Park Vista | Housing | 2020 | 0 | APS | 114629 | 21 | 46480 | 0 | 7.75 | 1125 N 3rd St | 33.461 | -112.0684
Acacia Library | Library | 2020 | 0 | APS | 114779 | 47 | 6600 | 0 | 54.62 | 746 E Townley Ave | 33.5661 | -112.0644
Sand Dollar | Housing | 2020 | 0 | APS | 115054 | 0 | 0 | 0 | 0 | 18410 N 27th Ave | 33.6532 | -112.1176
Fire Station 16 | Fire | 2020 | 0 | APS | 115819 | 39 | 12291 | 586 | 34.37 | 1414 E Mohave St | 33.4318 | -112.0514
Fire Station 55 | Fire | 2020 | 0 | APS | 116427 | 62 | 12000 | 0 | 30.47 | 26700 N 27th Ave | 33.7262 | -112.1174
Fire Station 35 | Fire | 2020 | 0 | APS | 116664 | 35 | 7162 | 504 | 58.2 | 646 E Paradise Ln | 33.6333 | -112.0659
Cave Creek Golf Clubhouse | Golf | 2020 | 0 | APS | 116706 | 30 | 0 | 0 | 0 | 15202 N 19th Ave | 33.6172 | -112.1064
E. McLoughlin Comm Center | Housing | 2020 | 0 | APS | 116760 | 60 | 10200 | 60 | 36.54 | 1150 S 7th Ave | 33.4373 | -112.083
Circle K Park | Parks | 2020 | 0 | SRP | 117255 | 246 | 0 | 0 | 0 | 1346 E South Mountain Ave | 33.3711 | -112.0552
Fire Station 24 | Fire | 2020 | 0 | SRP | 117293 | 32 | 6016 | 424 | 68.29 | 2602 N 43rd Ave | 33.4771 | -112.1521
Fire Station 38 | Fire | 2020 | 0 | SRP | 118182 | 28 | 7200 | 847 | 63.32 | 5002 E Warner Rd | 33.333 | -111.9786
Ocotillo Library | Library | 2020 | 0 | SRP | 118201 | 57 | 6600 | 0 | 56.25 | 102 W Southern Ave | 33.3927 | -112.0747
Shadow Mountain Senior Center | Human Services | 2020 | 0 | APS | 120240 | 57 | 10800 | 0 | 34.97 | 3546 E Sweetwater Ave | 33.6022 | -112.1741
Deer Valley Pool | Parks | 2020 | 0 | APS | 121351 | 28 | 60000 | 0 | 6.35 | 19400 N 19th Ave | 33.6628 | -112.1004
Fire Station 33 | Fire | 2020 | 0 | APS | 122751 | 58 | 5809 | 997 | 83.54 | 2409 W Cactus Rd | 33.5963 | -112.1111
Fire Station 36 | Fire | 2020 | 0 | APS | 123859 | 34 | 7091 | 688 | 64.57 | 21602 N 9th Ave | 33.682 | -112.0857
Deem Hills Rec Area | Parks | 2020 | 0 | APS | 124511 | 209 | 0 | 0 | 0 | 5050 W Andrea Ln | 33.7278 | -112.1665
FEMA Warehouse | Fire | 2020 | 0 | APS | 124910 | 83 | 20300 | 0 | 19.33 | 2450 S 22nd Ave | 33.4747 | -112.1074
Fire Station 04 | Fire | 2020 | 0 | APS | 125566 | 43 | 7162 | 997 | 68.99 | 1601 N 3rd Ave | 33.4661 | -112.078
PHX West Economy Parking Lot | Aviation | 2020 | 0 | APS | 126575 | 33 | 0 | 0 | 0 | 2910 E Buckeye Rd | 33.4363 | -112.0194
Fire Station 37 | Fire | 2020 | 0 | APS | 126766 | 30 | 6194 | 0 | 64.28 | 16602 N 40th St | 33.6373 | -111.9946
Fire Station 26 | Fire | 2020 | 0 | SRP | 128126 | 32 | 5908 | 919 | 83.67 | 3301 W Rose Ln | 33.5272 | -112.1304
Fire Station 22 | Fire | 2020 | 0 | SRP | 131116 | 34 | 6016 | 419 | 75.42 | 230 E Roeser Rd | 33.3999 | -112.0702
East District Office | Parks | 2020 | 0 | SRP | 132321 | 107 | 11708 | 0 | 35.5 | 1001 N 52nd St | 33.459 | -111.9693
South Mountain Detectives Building | Police | 2020 | 0 | SRP | 132571 | 41 | 5941 | 1313 | 92.19 | 400 W Southern Ave | 33.3927 | -112.0789
Century Library | Library | 2020 | 0 | SRP | 132810 | 54 | 6915 | 0 | 60.33 | 1750 E Highland Ave | 33.5061 | -112.0435
Cave Creek Park - Cactus | Parks | 2020 | 0 | APS | 133457 | 0 | 0 | 0 | 0 | 2400 W Cactus Rd | 33.5979 | -112.1108
PHX Tonto East Parking | Aviation | 2020 | 0 | APS | 133488 | 36 | 0 | 0 | 0 | 986 S 24th St | 33.4388 | -112.0322
Traffic Services Bldg | Streets | 2020 | 0 | APS | 135371 | 97 | 29900 | 676 | 16.48 | 1101 E Jefferson St | 33.4469 | -112.0587
University Pool | Parks | 2020 | 0 | APS | 135661 | 28 | 5352 | 400 | 87.09 | 1002 W Van Buren St | 33.4524 | -112.0874
El Oso Park | Parks | 2020 | 0 | SRP | 136474 | 215 | 0 | 0 | 0 | 3451 N 75th Ave | 33.4881 | -112.2186
Driver Training Bldg with Offices | Public Works | 2020 | 0 | APS | 138858 | 36 | 9255 | 0 | 47.13 | 3535 S 35th Ave | 33.4148 | -112.1297
GY Building 48 | Aviation | 2020 | 0 | APS | 139738 | 44 | 0 | 0 | 0 | 1658 S Litchfield Rd | N/A | N/A
Helen Drake Senior Center | Human Services | 2020 | 40 | SRP | 140924 | 92 | 12766 | 0 | 34.67 | 7600 N 27th Ave | 33.5484 | -112.1177
Sign Shop | Streets | 2020 | 0 | SRP | 142474 | 56 | 11456 | 0 | 39.06 | 4035 W Glenrosa Ave | 33.4983 | -112.1472
Neighborhood Resource Center | Police | 2020 | 0 | SRP | 143486 | 33 | 7300 | 0 | 61.74 | 2405 E Broadway Rd | 33.4061 | -112.1096
40th St / Pecos Park Transit Center | Public Transit | 2020 | 100 | SRP | 145245 | 110 | 366 | 0 | 1246.49 | 17010 S 40th St | 33.2935 | -111.9982
Fire Station 11 | Fire | 2020 | 0 | APS | 145903 | 43 | 6016 | 690 | 87.65 | 2727 E Roosevelt St | 33.4581 | -112.0227
Lath House Pavilion | Parks | 2020 | 0 | APS | 147835 | 47 | 0 | 0 | 0 | 601 E Monroe St | 33.4501 | -112.0655
Fire Station 56 | Fire | 2020 | 0 | APS | 149622 | 48 | 14000 | 1138 | 41.7 | 3210 W Canotia Pl | 33.8011 | -112.1289
Broadway Heritage Resource Ctr | Neighborhood | 2020 | 0 | SRP | 150480 | 58 | 13500 | 2974 | 57.04 | 2405 E Broadway Rd | 33.4061 | -112.1096
Fire Station 61 | Fire | 2020 | 0 | APS | 150611 | 38 | 12000 | 1079 | 48.41 | 1925 E Indian School Rd | 33.4942 | -112.0401
Barrios Unidos Park | Parks | 2020 | 0 | APS | 153331 | 106 | 0 | 0 | 0 | 1501 E Mohave St | 33.4303 | -112.0507
Fire Station 60 | Fire | 2020 | 0 | SRP | 153452 | 40 | 9500 | 1479 | 66.3 | 2405 W Townley Ave | 33.5652 | -112.111
Fire Station 10 | Fire | 2020 | 0 | APS | 155319 | 42 | 9556 | 411 | 55.35 | 2731 N 24th Dr | 33.4788 | -112.1113
Longview Neighborhood Rec Center | Parks | 2020 | 0 | APS | 158280 | 62 | 13855 | 0 | 35.88 | 4040 N 14th St | 33.4943 | -112.0519
Marivue Park | Parks | 2020 | 0 | SRP | 162979 | 281 | 0 | 0 | 0 | 5625 W Osborn Rd | 33.486 | -112.18
Harmon Gym | Parks | 2020 | 0 | APS | 165116 | 107 | 12300 | 0 | 42.16 | 1425 S 5th Ave | 33.4348 | -112.0802
DVT Hangar 36 | Aviation | 2020 | 0 | APS | 165914 | 35 | 14892 | 0 | 34.99 | 22500 N 4th Ave | 33.6931 | -112.0805
Fire Station 54 | Fire | 2020 | 0 | SRP | 166422 | 101 | 14000 | 1061 | 44.92 | 9820 W Campbell Ave | 33.5017 | -112.2707
Fire Station 52 | Fire | 2020 | 0 | APS | 166766 | 46 | 13700 | 1481 | 49.04 | 21650 N Tatum Blvd | 33.683 | -111.977
Sunnyslope Community Cntr - Main | Parks | 2020 | 100 | APS | 167677 | 54 | 13273 | 0 | 39.68 | 802 E Vogel Ave | 33.5733 | -112.063
Fire Station 44 | Fire | 2020 | 0 | SRP | 168599 | 46 | 7396 | 645 | 80.32 | 7117 W Mcdowell Rd | 33.4653 | -112.2124
Sunnyslope Comm Cntr - Gym | Parks | 2020 | 0 | APS | 169711 | 58 | 13273 | 0 | 40.16 | 802 E Vogel Ave | 33.5733 | -112.063
DVT Hangar 45 | Aviation | 2020 | 0 | APS | 170400 | 34 | 14892 | 0 | 35.94 | 702 W Deer Valley Dr | 33.6932 | -112.077
Ed Pastor Transit Center | Public Transit | 2020 | 0 | SRP | 170821 | 106 | 13572 | 0 | 39.53 | 10 W Broadway Rd | 33.4071 | -112.0744
Phoenix Center for the Arts | Parks | 2020 | 0 | APS | 171427 | 86 | 22344 | 1275 | 29.8 | 1202 N 3rd St | 33.4617 | -112.0699
PHX Tonto West Parking | Aviation | 2020 | 0 | APS | 172766 | 44 | 0 | 0 | 0 | 2325 E Sky Harbor Cir North | 33.4409 | -112.0358
Book Mobile Warehouse | Library | 2020 | 0 | APS | 173330 | 104 | 0 | 0 | 0 | 1330 N 29th Dr | 33.4634 | -112.1233
John F Long Family Services Center | Human Services | 2020 | 0 | SRP | 174120 | 120 | 18459 | 0 | 29.63 | 3454 N 51st AVE | 33.4897 | -112.1708
David Uribe Pool | Parks | 2020 | 0 | APS | 174419 | 47 | 0 | 31079 | 0 | 3801 W Cactus Rd | 33.5946 | -112.1407
Fire Station 57 | Fire | 2020 | 0 | SRP | 174533 | 59 | 14000 | 2800 | 59.16 | 1660 W Dobbins Rd | 33.3652 | -112.094
Maryvale Pool | Parks | 2020 | 15 | SRP | 176704 | 31 | 0 | 59 | 0 | 4444 N 51st Ave | 33.5014 | -112.1696
Mountain Park Ranch | Parks | 2020 | 0 | SRP | 177499 | 147 | 0 | 0 | 0 | 15325 S Mountain Pkwy | 33.3086 | -111.9997
Yucca Library | Library | 2020 | 0 | SRP | 179162 | 67 | 10000 | 0 | 56.27 | 5648 N 15th Ave | 33.5199 | -112.0916
McDowell Senior Center | Human Services | 2020 | 0 | APS | 183640 | 81 | 10223 | 2978 | 85.55 | 1845 E McDowell Rd | 33.4652 | -112.0414
Fire Station 18 | Fire | 2020 | 0 | SRP | 184069 | 46 | 11600 | 1370 | 61.65 | 5019 N 23rd Ave | 33.5104 | -112.1078
Fire Station 08 | Fire | 2020 | 0 | APS | 184624 | 45 | 11957 | 1324 | 59.57 | 1025 E Polk St | 33.4526 | -112.0593
Housing Admin Bldg | Housing | 2020 | 0 | APS | 186080 | 74 | 17152 | 0 | 34.08 | 870 E Jefferson St | 33.4473 | -112.0627
Desert Broom Library | Library | 2020 | 0 | APS | 187634 | 79 | 15000 | 0 | 39.29 | 29710 N Cave Creek Rd | 33.7539 | -111.9938
Telephone Pioneer Park | Parks | 2020 | 0 | APS | 188139 | 73 | 0 | 0 | 0 | 1946 W Morningside Dr | 33.6492 | -112.1017
Fire Station 59 | Fire | 2020 | 18 | SRP | 191742 | 60 | 21000 | 1241 | 34.59 | 1111 S 65th Ave | 33.4378 | -112.1975
Saguaro LIbrary | Library | 2020 | 0 | SRP | 191800 | 59 | 10500 | 1266 | 69.43 | 2808 N 46th St | 33.4787 | -111.983
Fire Station 32 | Fire | 2020 | 0 | SRP | 192443 | 56 | 15403 | 941 | 45.35 | 7620 S 42nd Pl | 33.3772 | -111.9927
Papago Sports Complex | Parks | 2020 | 0 | SRP | 193986 | 842 | 31426 | 0 | 19.39 | 1802 N 64th St | 33.4688 | -111.9451
Starlight Pool | Parks | 2020 | 0 | SRP | 194832 | 103 | 6773 | 0 | 90.35 | 7810 W Osborn Rd | 33.488 | -112.2284
Planning & Development Bldg | Public Works | 2020 | 0 | APS | 196011 | 82 | 15950 | 234 | 40.07 | 438 W Adams Street | 33.4496 | -112.0798
Pierce Park | Parks | 2020 | 0 | SRP | 197236 | 329 | 0 | 0 | 0 | 4501 E Oak St | 33.4714 | -111.9839
A.E. England Building | Parks | 2020 | 53 | APS | 198866 | 131 | 25400 | 0 | 24.59 | 424 N Central Ave | 33.4532 | -112.0742
Sunnyslope Police Station | Police | 2020 | 0 | APS | 201508 | 68 | 7852 | 0 | 80.61 | 750 W Peoria Ave | 33.5828 | -112.0831
Fire Station 03 | Fire | 2020 | 0 | APS | 203287 | 52 | 11600 | 653 | 60.67 | 1257 W Pierce St | 33.4557 | -112.0909
Fire Station 12 | Fire | 2020 | 0 | SRP | 203304 | 51 | 13499 | 1349 | 57.3 | 4247 N 32nd St | 33.4986 | -112.0124
Glenrosa Solid Waste Bldg | Public Works | 2020 | 0 | SRP | 203456 | 58 | 12000 | 608 | 58.32 | 4020 W Glenrosa Ave | 33.499 | -112.1463
Eastlake Comm Ctr & Gym | Parks | 2020 | 10 | APS | 204895 | 90 | 19428 | 0 | 33.13 | 1545 E Jefferson St | 33.4471 | -112.0491
Roosevelt Pool | Parks | 2020 | 0 | SRP | 208293 | 62 | 12210 | 56 | 54.04 | 6246 S 7th St | 33.389 | -112.0657
Fire Station 29 | Aviation | 2020 | 0 | APS | 208871 | 50 | 22000 | 1371 | 36.05 | 3949 E Air Ln | 33.4438 | -112.0155
PHX City Hangar | Aviation | 2020 | 0 | APS | 211824 | 58 | 31407 | 0 | 21.18 | 2725 E Air Ln | 33.4433 | -112.0228
Cielito Pool | Parks | 2020 | 0 | SRP | 213187 | 413 | 0 | 0 | 0 | 3402 W Campbell Ave | 33.5033 | -112.1323
Fire Station 09 | Fire | 2020 | 0 | APS | 215977 | 54 | 10940 | 1750 | 78.01 | 330 E Fairmount Ave | 33.4933 | -112.0684
Heritage Garage | Convention | 2020 | 0 | APS | 220567 | 48 | 0 | 0 | 0 | 125 N 5th St | 33.4499 | -112.0669
GY Terminal | Aviation | 2020 | 0 | APS | 224594 | 27 | 0 | 0 | 0 | 1658 S Litchfield Rd | N/A | N/A
Mountain Vista Park | Parks | 2020 | 0 | SRP | 225366 | 667 | 0 | 0 | 0 | 13647 S 50th St | 33.323 | -111.9758
Facilities Management Bldg | Public Works | 2020 | 100 | APS | 228353 | 91 | 35235 | 2251 | 26.74 | 2631 S 22 Ave | 33.4232 | -112.1051
Ironwood Library | Library | 2020 | 0 | SRP | 228943 | 81 | 16300 | 0 | 44.12 | 4333 E Chandler Blvd | 33.3048 | -111.9899
Desert Sage Library | Library | 2020 | 0 | SRP | 230075 | 97 | 13400 | 0 | 53.93 | 7602 W Encanto Blvd | 33.4739 | -112.2236
Sunnyslope Family Services Center | Human Services | 2020 | 0 | APS | 234880 | 88 | 18459 | 0 | 39.97 | 914 W Hatcher Rd | 33.5723 | -112.0857
DVT Terminal | Aviation | 2020 | 0 | APS | 239069 | 66 | 0 | 1398 | 0 | 702 W Deer Valley Dr | 33.6855 | -112.083
Fire Station 50 | Fire | 2020 | 0 | APS | 239656 | 64 | 13700 | 1394 | 65.12 | 20225 N 35Th Ave | 33.6705 | -112.134
Cortez Park Pool | Parks | 2020 | 0 | SRP | 241941 | 103 | 0 | 0 | 0 | 3434 W Dunlap Ave | 33.568 | -112.1325
PHX Executive Terminal | Aviation | 2020 | 0 | APS | 243909 | 53 | 8334 | 100 | 93.13 | 2908 E Sky Harbor Blvd | 33.4379 | -112.0194
Graffiti Warehouse | Neighborhood | 2020 | 0 | APS | 245018 | 78 | 24925 | 0 | 30.88 | 3325 W Flower St | 33.4848 | -112.1298
PHX RCC Small Ops | Aviation | 2020 | 0 | APS | 245078 | 80 | 7860 | 0 | 97.94 | 1712 E Rental Car Way | 33.4285 | -112.0456
Juniper LIbrary | Library | 2020 | 0 | APS | 247648 | 97 | 14435 | 0 | 53.89 | 1825 W Union Hills Dr | 33.6546 | -112.0981
Encanto Maintenance and Warehouse | Parks | 2020 | 0 | APS | 250259 | 67 | 42090 | 1094 | 21.27 | 1802 W Encanto Blvd | 33.4739 | -112.0977
Fire Station 25 | Fire | 2020 | 0 | SRP | 256199 | 70 | 16450 | 1750 | 59.56 | 4010 N 63rd Ave | 33.4935 | -112.1956
Desert Horizon Precinct | Police | 2020 | 0 | APS | 261158 | 88 | 14866 | 3010 | 75.43 | 16030 N 56th St | 33.6323 | -111.9599
Harmon Library | Library | 2020 | 0 | APS | 265219 | 95 | 12400 | 0 | 67.18 | 1325 S 5th Ave | 33.4359 | -112.0801
Fire Station 30 | Fire | 2020 | 0 | SRP | 265772 | 66 | 16000 | 2401 | 67.18 | 2701 W Belmont Ave | 33.5489 | -112.1176
South Mountain Senior Center | Human Services | 2020 | 0 | SRP | 267341 | 198 | 15000 | 1291 | 64.59 | 502 E Alta Vista Rd | 33.3896 | -112.0702
MDC/SVD | Police | 2020 | 0 | APS | 272631 | 79 | 26250 | 0 | 32.62 | 425 E Buckeye Rd | 33.4358 | -112.0682
Hermoso Park | Parks | 2020 | 0 | SRP | 275702 | 545 | 0 | 0 | 0 | 2030 E Southern Ave | 33.3954 | -112.0378
Travis L Williams Family Services Center | Human Services | 2020 | 0 | SRP | 281280 | 122 | 16030 | 0 | 55.12 | 4732 S Central Ave | 33.4035 | -112.0747
South Mountain Precinct | Police | 2020 | 0 | APS | 283692 | 82 | 11000 | 1573 | 95.31 | 400 W Southern Ave | 33.3932 | -112.0791
Fire Dept - Special Operations | Fire | 2020 | 0 | APS | 283942 | 165 | 20641 | 1250 | 49.26 | 2430 S 22nd Ave | 33.4253 | -112.1071
Maryvale Precinct | Police | 2020 | 0 | SRP | 287911 | 83 | 13583 | 2029 | 81.52 | 6180 W Encanto Blvd | 33.4734 | -112.1922
Central Precinct | Police | 2020 | 0 | APS | 290010 | 96 | 29800 | 1315 | 34.98 | 1902 S 16th St | 33.4291 | -112.0493
Los Olivos Park - Devonshire Center | Parks | 2020 | 0 | SRP | 296650 | 334 | 16100 | 0 | 57.87 | 2802 E Devonshire Ave | 33.4971 | -112.0201
Fire Station 41 | Fire | 2020 | 0 | APS | 301761 | 82 | 7332 | 1006 | 142.99 | 2501 W Morningside Dr | 33.6484 | -112.1131
South Mountain Community Center | Parks | 2020 | 0 | SRP | 309361 | 262 | 17000 | 2630 | 72.63 | 6235 S 2nd St | 33.389 | -112.0706
Skunk Creek Landfill | Public Works | 2020 | 0 | APS | 312698 | 124 | 0 | 0 | 0 | 2920 W Happy Valley Rd | 33.7124 | -112.1247
Skunk Creek Landfill | Public Works | 2020 | 0 | APS | 312698 | 124 | 0 | 0 | 0 | 2920 W Happy Valley Rd | 33.7124 | -112.1247
Glenrosa Fleet Services | Public Works | 2020 | 0 | SRP | 313213 | 110 | 13000 | 165 | 76.95 | 4015 W Glenrosa Ave | 33.4983 | -112.1454
Northern Command | Police | 2020 | 0 | APS | 316207 | 73 | 13073 | 1346 | 86.27 | 302 E Union Hills Dr | 33.6549 | -112.0691
Fire Station 01 | Fire | 2020 | 20 | APS | 318608 | 86 | 13888 | 1059 | 79.68 | 323 N 4th Ave | 33.4522 | -112.0786
Cactus Park Precinct | Police | 2020 | 0 | APS | 323584 | 112 | 13932 | 432 | 76.05 | 12220 N 39th Ave | 33.5971 | -112.1434
Cholla Library | Library | 2020 | 0 | APS | 324841 | 228 | 30000 | 0 | 34.01 | 10050 Metro Parkway East | 33.5781 | -112.1198
Salt River Fleet Services | Public Works | 2020 | 0 | APS | 328824 | 222 | 12600 | 1023 | 90.09 | 3045 S 22nd Ave | 33.4195 | -112.1046
Paradise Valley Community Cntr | Parks | 2020 | 0 | APS | 332983 | 333 | 35506 | 2366 | 36.12 | 17642 N. 40th ST | 33.6455 | -111.997
Agave Library | Library | 2020 | 0 | APS | 336891 | 130 | 25000 | 0 | 42.33 | 23550 N 36th AVE | 33.6994 | -112.1403
Desert West Community Center | Parks | 2020 | 0 | SRP | 345188 | 142 | 14587 | 2406 | 90.82 | 6501 W Virginia Ave | 33.4764 | -112.2008
Washington Activity Center | Parks | 2020 | 10 | SRP | 346891 | 157 | 32971 | 0 | 33.05 | 2240 W Citrus Way | 33.5303 | -112.1076
Fire Station 43 | Fire | 2020 | 0 | SRP | 364891 | 103 | 22000 | 2462 | 63.29 | 4110 E Chandler Blvd | 33.3056 | -111.9946
Glenrosa Park Admin | Public Works | 2020 | 0 | SRP | 366111 | 115 | 11456 | 738 | 106.82 | 4155 W Glenrosa Ave | 33.498 | -112.1479
Cesar Chavez Library | Library | 2020 | 0 | SRP | 369600 | 127 | 25000 | 0 | 46.44 | 3635 W Baseline Rd | 33.3775 | -112.1366
Deer Valley Community Center | Parks | 2020 | 0 | APS | 375779 | 139 | 34294 | 1621 | 39.14 | 19602 N 19th Ave | 33.6638 | -112.102
City Clerk Cust Srv Center | City Clerk | 2020 | 0 | APS | 390494 | 215 | 19301 | 856 | 67.98 | 2640 S 22nd Ave | 33.4227 | -112.1068
Steele Indian School Restroom | Parks | 2020 | 0 | APS | 401605 | 121 | 67470 | 0 | 18.7 | 300 E Indian School Rd | 33.4988 | -112.0691
Mesquite Library | Library | 2020 | 0 | APS | 407989 | 112 | 19875 | 0 | 64.48 | 4525 E Paradise Village Pkwy | 33.6047 | -111.9837
Signal Shop | Streets | 2020 | 0 | APS | 412203 | 109 | 32500 | 1166 | 43.43 | 2141 E Jefferson St | 33.4468 | -112.0352
Design & Construction Management Bldg | Streets | 2020 | 0 | APS | 414236 | 250 | 19980 | 1291 | 71.58 | 1034 E Madison St | 33.446 | -112.0599
PHX DCS Building | Aviation | 2020 | 0 | APS | 423110 | 124 | 19247 | 0 | 69.05 | 500 S 24th St | 33.4434 | -112.0317
Historic City Hall | Public Works | 2020 | 0 | APS | 436029 | 98 | 154852 | 0 | 8.84 | 17 S 2nd Ave | 33.4478 | -112.0757
Paradise Valley Pools | Parks | 2020 | 0 | APS | 441381 | 94 | 15574 | 43173 | 366.23 | 17648 N 40th St | 33.6474 | -111.9974
Police Air Support | Police | 2020 | 0 | APS | 480684 | 130 | 42894 | 0 | 35.2 | 702 W Deer Valley Dr | 33.6866 | -112.0734
PHX Aviation Admin Building | Aviation | 2020 | 0 | APS | 483159 | 134 | 20795 | 0 | 72.98 | 3420 E Sky Harbor Blvd | 33.4362 | -112.0066
PHX Bus Maint Facility | Aviation | 2020 | 0 | APS | 505211 | 101 | 27848 | 1739 | 63.23 | 2425 E Buckeye Rd | 33.4361 | -112.0335
Estrella Mountain Precinct | Police | 2020 | 0 | SRP | 544612 | 127 | 32840 | 2631 | 60.1 | 2111 S 99th Ave | 33.4254 | -112.2675
Black Mountain Precinct | Police | 2020 | 0 | APS | 548289 | 128 | 30524 | 2130 | 63.4 | 33355 N Cave Creek Rd | 33.7877 | -111.9691
Southern Command | Police | 2020 | 0 | SRP | 552891 | 133 | 27500 | 3263 | 75.02 | 3443 S Central Ave | 33.4146 | -112.0726
Memorial Hall | Parks | 2020 | 0 | APS | 558125 | 190 | 0 | 0 | 0 | 300 E Indian School Rd | 33.4978 | -112.0697
PHX Fire Station 19 | Aviation | 2020 | 0 | APS | 559823 | 156 | 34101 | 0 | 51.56 | 3547 E Sky Harbor Blvd | 33.4342 | -112.0056
Maryvale Terrace | Housing | 2020 | 0 | SRP | 566880 | 154 | 76000 | 7242 | 32.96 | 4545 N Maryvale Pkwy | 33.5036 | -112.1706
Mountain View Precinct | Police | 2020 | 0 | SRP | 576361 | 130 | 30524 | 3608 | 71.13 | 2075 E Maryland Ave | 33.5299 | -112.0359
PHX Operations Center | Aviation | 2020 | 0 | APS | 578454 | 150 | 15276 | 0 | 118.94 | 3300 E Sky Harbor Blvd | 33.4357 | -112.0112
Pueblo Grande Museum | Parks | 2020 | 0 | APS | 580312 | 221 | 17144 | 0 | 106.32 | 4619 E Washington St | 33.4468 | -111.9848
Recruit Training Building | Fire | 2020 | 0 | APS | 589259 | 141 | 50000 | 0 | 37.02 | 2425 W Lower Buckeye Rd | 33.42 | -112.1114
Salt River Service Center Office | Public Works | 2020 | 0 | APS | 592881 | 336 | 46691 | 1957 | 44.08 | 3045 S 22nd Ave | 33.419 | -112.1058
Rose Mofford | Parks | 2020 | 0 | APS | 594672 | 952 | 8313 | 0 | 224.69 | 9833 N 25th Ave | 33.5747 | -112.1108
Cave Creek Park- Sweetwater | Parks | 2020 | 0 | APS | 617416 | 0 | 0 | 0 | 0 | 2409 W Sweetwater Ave | 33.605 | -112.1105
Reach 11 Soccer Bldg | Parks | 2020 | 0 | APS | 617658 | 0 | 3990 | 0 | 486.23 | 2425 E Deer Valley Dr | 33.6839 | -112.0228
PHX Building A - Cargo | Aviation | 2020 | 0 | APS | 634159 | 147 | 53417 | 0 | 37.29 | 1247 S 27th St | 33.4346 | -112.0225
Japanese Friendship Garden | Parks | 2020 | 0 | APS | 667411 | 188 | 1347 | 0 | 1556.3 | 1125 N 3rd Ave | 33.461 | -112.0768
Phoenix Theatre | Arts | 2020 | 0 | APS | 679727 | 316 | 35000 | 6046 | 78.27 | 100 E McDowell Rd | 33.4668 | -112.0721
PHX Building B - Cargo | Aviation | 2020 | 0 | APS | 698750 | 136 | 53290 | 0 | 41.19 | 1249 S 27th St | 33.4347 | -112.0234
Goelet A Beuf Community Center | Parks | 2020 | 0 | APS | 728857 | 197 | 48000 | 1210 | 50.22 | 3435 W. Pinnacle Peak Rd | 33.6962 | -112.1329
Luke Krohn Apartments | Housing | 2020 | 0 | APS | 748200 | 246 | 0 | 354 | 0 | 1940 1/2 E. Villa St | 33.4569 | -112.0412
Ambassador West | Housing | 2020 | 0 | APS | 750720 | 172 | 0 | 0 | 0 | 340 N 5th Ave | 33.4528 | -112.0804
Maryvale Community Center | Parks | 2020 | 0 | SRP | 760600 | 576 | 27000 | 0 | 88.48 | 4402 N 51st Ave | 33.5005 | -112.1722
PHX East Econ Pkg Garage | Aviation | 2020 | 1300 | APS | 828377 | 403 | 0 | 0 | 0 | 4445 E Sky Harbor Blvd | 33.4354 | -111.9839
Herberger Theater | Convention | 2020 | 0 | APS | 893900 | 336 | 0 | 0 | 0 | 222 E Monroe St | 33.451 | -112.0708
PHX Facilities & Services | Aviation | 2020 | 0 | APS | 930433 | 237 | 61085 | 1896 | 50.95 | 2515 E Buckeye Rd | 33.4365 | -112.0276
Fire Admin - Ops Phase 1 | Fire | 2020 | 0 | APS | 942360 | 209 | 95866 | 0 | 30.88 | 150 S 12th St | 33.4457 | -112.0577
Sunnyslope Manor | Housing | 2020 | 113 | APS | 965302 | 4448 | 111596 | 0 | 27.17 | 205 E Ruth Ave | 33.5628 | -112.0714
PineTower | Housing | 2020 | 0 | SRP | 1010586 | 248 | 100224 | 3318 | 34.98 | 2936 N 36th St | 33.4821 | -112.0048
Fillmore Gardens | Housing | 2020 | 307 | APS | 1019100 | 279 | 6600 | 0 | 485 | 802 N 22nd Pl | 33.4567 | -112.0331
Fire Resource Management | Fire | 2020 | 0 | APS | 1023219 | 247 | 85000 | 1450 | 39.52 | 2625 S 19th Ave | 33.4238 | -112.0986
Okemah Bldg | Public Works | 2020 | 0 | SRP | 1034273 | 297 | 27387 | 0 | 118.62 | 3828 E Anne St | 33.4146 | -111.9971
Equipment Mgmt Complex | Public Works | 2020 | 540 | APS | 1042218 | 404 | 106620 | 15836 | 45.56 | 2441 S 22 Ave | 33.4248 | -112.1051
PHX Consolidated Office Building | Aviation | 2020 | 580 | APS | 1053082 | 468 | 78000 | 0 | 42.41 | 2485 E Buckeye Rd | 33.4358 | -112.0314
PHX Building C - Cargo | Aviation | 2020 | 0 | APS | 1082722 | 216 | 79933 | 0 | 42.55 | 1251 S 25th St | 33.435 | -112.0255
Vision Partnership | Police | 2020 | 0 | SRP | 1116405 | 249 | 55000 | 0 | 63.76 | 3945 E Broadway Rd | 33.4081 | -111.7462
GY Building 18 | Aviation | 2020 | 0 | APS | 1134418 | 273 | 0 | 0 | 0 | 1658 S Litchfield Rd | N/A | N/A
PHX Building 1302 | Aviation | 2020 | 0 | APS | 1172688 | 415 | 0 | 0 | 0 | 2739 E Washington St | 33.4478 | -112.0218
Cesar Chavez Park | Parks | 2020 | 0 | SRP | 1173696 | 2690 | 0 | 0 | 0 | 7858 S 35th Ave | 33.3729 | -112.1363
PHX Terminal 2 | Aviation | 2020 | 0 | APS | 1225942 | 2658 | 330000 | 0 | 11.67 | 3200 E Sky Harbor Blvd | 33.4362 | -112.0136
Union Hills Svc Cntr Main | Public Works | 2020 | 0 | APS | 1274860 | 372 | 36310 | 0 | 110.28 | 202 E Union Hills Dr | 33.6549 | -112.0762
Symphony Hall | Convention | 2020 | 0 | APS | 1453093 | 400 | 0 | 0 | 0 | 75 N 2nd St | 33.4489 | -112.0706
AHQ2 Building 8 | Fire | 2020 | 0 | APS | 1464287 | 296 | 88000 | 0 | 52.27 | 2425 W Lower Buckeye Rd | 33.4199 | -112.1106
PCC East Garage | Convention | 2020 | 0 | APS | 1526710 | 292 | 0 | 0 | 0 | 601 E Washington St | 33.4477 | -112.0664
Pecos Park - Community Center | Parks | 2020 | 30 | SRP | 1595744 | 704 | 93670 | 5731 | 59.63 | 17010 S 48th St | 33.2917 | -111.9835
Sidney P Osborn Apartments | Housing | 2020 | 0 | APS | 1715391 | 621 | 0 | 1 | 0 | 1730 E Moneroe St | 33.4504 | -112.0445
Evidence Lot/Warehouse | Police | 2020 | 0 | SRP | 1879736 | 338 | 120000 | 217 | 49.38 | 100 E Elwood St | 33.4149 | -112.0702
Police Academy | Police | 2020 | 0 | SRP | 1937639 | 432 | 67000 | 3849 | 96.58 | 10001 S 15th Ave | 33.3543 | -112.0875
Fire Admin - Ops Phase 2 | Fire | 2020 | 0 | APS | 1938682 | 366 | 42193 | 820 | 146.27 | 150 S 12th St | 33.4457 | -112.0577
Regency Garage | Convention | 2020 | 0 | APS | 2353173 | 479 | 0 | 1259 | 0 | 121 E Adams St | 33.4491 | -112.0719
Adams St Garage | Public Works | 2020 | 882 | APS | 2402642 | 498 | 11590 | 1254 | 661.96 | 310 W Adams St | 33.4495 | -112.0782
PCC South Bldg | Convention | 2020 | 0 | APS | 2855448 | 956 | 286000 | 2506 | 32.24 | 95 S 3rd St | 33.4473 | -112.0694
Phoenix Municipal Courts Bldg | Public Works | 2020 | 10 | APS | 3059932 | 1823 | 374255 | 1138 | 25.99 | 300 W Washington St | 33.4488 | -112.0783
Central Library - Burton Barr | Library | 2020 | 150 | APS | 3125546 | 802 | 280000 | 93402 | 68.42 | 1221 N Central Ave | 33.4632 | -112.0729
27th Ave Transfer Stn | Public Works | 2020 | 0 | APS | 3287822 | 1504 | 129420 | 0 | 79.79 | 3060 S. 27th Ave | 33.4165 | -112.1213
PHX South Air Cargo | Aviation | 2020 | 0 | APS | 3498412 | 767 | 173134 | 0 | 63.47 | 3002 E Old Tower Rd | 33.4246 | -112.0158
Phoenix Art Museum | Arts | 2020 | 0 | APS | 3511712 | 1143 | 385669 | 50720 | 41.75 | 1625 N Central Ave | 33.467 | -112.0726
North Gateway Transfer Station | Public Works | 2020 | 7 | APS | 3533168 | 786 | 210617 | 5466 | 55.29 | 30205 N Black Canyon Hwy | 33.7606 | -112.1165
Police Crime Lab | Police | 2020 | 0 | APS | 3817577 | 1098 | 104000 | 111383 | 222.4 | 621 W Washington St | 33.4477 | -112.0819
Family Advocacy Center | Human Services | 2020 | 0 | APS | 4061800 | 696 | 95697 | 0 | 133.32 | 2120 N Central Ave | 33.4714 | -112.0744
Police Headquarters | Police | 2020 | 0 | APS | 4766716 | 843 | 155880 | 693 | 96.49 | 620 W Washington St | 33.4488 | -112.082
PHX Rental Car Center | Aviation | 2020 | 4100 | APS | 6660320 | 1834 | 361276 | 614 | 58.08 | 1795 E Sky Harbor Cir S | 33.4301 | -112.0451
Phoenix City Hall | Public Works | 2020 | 0 | APS | 10370048 | 3206 | 600000 | 48805 | 62.42 | 200 W Washington St | 33.4488 | -112.0771
PHX SkyTrain Switch Yard | Aviation | 2020 | 0 | APS | 12540154 | 2189 | 0 | 0 | 0 | 333 S 42nd St | N/A | N/A
PCC North & West Bldgs | Convention | 2020 | 100 | APS | 14342114 | 3770 | 1766280 | 297702 | 42.36 | 100 N 3rd St | 33.4498 | -112.0704
PHX Terminal 3 | Aviation | 2020 | 0 | APS | 22345870 | 4277 | 880000 | 0 | 79.76 | 3400 E Sky Harbor Blvd | 33.4354 | -112.0083
PHX Terminal 4 | Aviation | 2020 | 0 | APS | 69527895 | 22957 | 1918732 | 31382 | 115.45 | 3800 E Sky Harbor Blvd | 33.4355 | -111.9979

## data analysis
department | sum of electricity usage |  |  | department | count of departments
Parks | 21748822 |  |  | Parks | 220
Aviation | 129492058 |  |  | Aviation | 69
Human Services | 5726295 |  |  | Human Services | 12
Neighborhood | 397138 |  |  | Neighborhood | 3
Streets | 1107651 |  |  | Streets | 5
total- | 158471964
department | Electric Utility | Electric Utility | Electricity Usage
Parks | APS | APS | 238493928
Aviation | APS | SRP | 27269416
Human Services | APS | Total- | 265763344
Neighborhood | APS
Streets | APS

## Sheet4
Site Name | Department | Year | Current Solar | Electric Utility | Electricity Usage | Peak Electric Demand | Building Area | Natural Gas Usage | Energy Use Intensity | Address | Latitude | Longitude
Cave Creek Golf Clubhouse | Golf | 2020 | 0 | APS | 116706 | 30 | 0 | 0 | 0 | 15202 N 19th Ave | 33.6172 | -112.1064
Aguila Golf Pro Shop | Golf | 2020 | 0 | SRP | 60180 | 18 | 6000 | 0 | 31.5 | 8440 S 35th Ave | 33.37 | -112.1398
Encanto Park Clubhouse | Golf | 2020 | 0 | APS | 51726 | 38 | 6783 | 1180 | 41.35 | 2605 N 15th Ave | 33.4761 | -112.0879
Palo Verde Pro Shop | Golf | 2020 | 0 | SRP | 42159 | 13 | 3036 | 0 | 43.62 | 6215 N 15th Ave | 33.5281 | -112.0907
Encanto 9-Hole Pro Shop | Golf | 2020 | 0 | APS | 37915 | 0 | 3475 | 489 | 48.34 | 2308 N 17th Ave | 33.4739 | -112.0962

## pivot_analysis1
Row Labels | Sum of Peak Electric Demand
Aviation | 38503
Parks | 19302
Public Works | 10719
Housing | 6556
Convention | 6281
Police | 4398
Fire | 3890
Library | 2236
Human Services | 1582
Arts | 1459
Streets | 512
Public Transit | 392
City Clerk | 215
Neighborhood | 136
Golf | 99
Grand Total | 96280
Row Labels | Sum of Electricity Usage | Sum of Natural Gas Usage | difference | _SUM
Arts | 4191439 | 56766 | 4134673 | 56766
Aviation | 129492059 | 38581 | 129453478 | 38581
City Clerk | 390494 | 856 | 389638 | 856
Convention | 23675719 | 301467 | 23374252 | 301467
Fire | 14536469 | 53419 | 14483050 | 53419
Golf | 308686 | 1669 | 307017 | 1669
Housing | 7847225 | 10975 | 7836250 | 10975
Human Services | 5726295 | 5952 | 5720343 | 5952
Library | 6634468 | 94668 | 6539800 | 94668
Neighborhood | 397138 | 2974 | 394164 | 2974
Parks | 21748822 | 96874 | 21651948 | 96874
Police | 18890634 | 138792 | 18751842 | 138792
Public Transit | 1002439 | 0 | 1002439 | 0
Public Works | 29954792 | 79475 | 29875317 | 79475
Streets | 1107651 | 3150 | 1104501 | 3150
Grand Total | 265904330 | 885618 | 265018712 | 885618

## pivot_analysis2
Row Labels | Sum of Current Solar | Count of Site Name | Sum of Electricity Usage | Row Labels | Sum of Natural Gas Usage | Count of Site Name
APS | 8938 | 355 | 238493928 | APS | 813261 | 355
APS/SRP | 0 | 2 | 140986 | APS/SRP | 0 | 2
SRP | 273 | 139 | 27269416 | SRP | 72357 | 139
Grand Total | 9211 | 496 | 265904330 | Grand Total | 885618 | 496
Row Labels | Sum of Energy Use Intensity
APS | 17248.61
APS/SRP | 0
SRP | 6028.15
Grand Total | 23276.76